Enhanced Grass Swale Inspection Checklist

[Note:  a separate form must be used for each BMP]

BMP Name and Location: _________________________________________________

Deed Book and Page Number: ______________________________________________

Project Name: 	 __________________________________________________________

Owner’s Name: __________________________________________________________

Owner’s Address:  _______________________________________________________

Inspection Date:  _________________________________________________________

Inspection Time: _________________________________________________________

Inspector:  _______________________________________________________________

Inspector Address/Phone Number: ____________________________________________

Inspection Type:   _________________________________________________________

(choose from Final Construction, Maintenance Bond, Annual Compliance, Routine Maintenance, Follow-up, or Other Inspection)

Compliance Status Information (if applicable)

| Notice Issued | Notice Date | Required Compliance Date | Actual Compliance Date |
| --- | --- | --- | --- |
| Notice of Violation (NOV) |  |  |  |
| Notice of Violation with Penalty (NOVP) |  |  |  |

Major inspection/maintenance guidelines for Enhanced Grassed Swales are:

- Maintain grass heights of 3 to 6 inches.

- Remove sediment from forebay and channels or swales that can cause standing water, inlet/outlet blockage, and media clogging

- Invasive species must not be allowed to encroach within the swale.

- Gulleys or eroded areas indicate that upstream energy dissipation of flow is necessary

High Priority Corrective Actions in the Inspection Table below include those actions that have the potential to cause structure failure, functional failure, harm to the public or the environment as determined by a professional engineer or registered landscape architect and should be repaired immediately.  Examples of these High Priority items may include (but not limited to):

- Eroded areas causing failure of surrounding structures

- Standing water indicating clogged media

- Lack of sufficient vegetation

| Enhanced Grassed Swale Inspection Checklist |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Maintenance Item | Corrective Action Required |  |  | Continue Ongoing Maintenance | Recommended Frequency | Comments/Actions Required |
|  | High Priority (0-30days) | Priority (30-45 days) | Not Accessible |  |  |  |
| - Debris Cleanout |  |  |  |  |  |  |
| Clear of trash and debris |  |  |  |  | W-M |  |
| - Vegetation Management |  |  |  |  |  |  |
| Grass height (maintain 3-6 inch height) |  |  |  |  | W-M |  |
| Unwanted vegetation present |  |  |  |  | M |  |
| Ground cover well established (annual reseeding) |  |  |  |  | Q |  |
| - Erosion |  |  |  |  |  |  |
| Evidence of erosion in swale or contributing areas |  |  |  |  | M |  |
| - Dewatering |  |  |  |  |  |  |
| Evidence of standing water |  |  |  |  | M |  |
| - Sedimentation |  |  |  |  |  |  |
| Sediment accumulation |  |  |  |  | Y |  |
| - Energy dispersion / check dams |  |  |  |  |  |  |
| Condition of dispersion devices |  |  |  |  | Y |  |
| Condition of check dams |  |  |  |  | Y |  |
| 7. Additional Comments |  |  |  |  |  |  |

W=Weekly, M=Monthly, Q=Quarterly, Y=Yearly

I do hereby certify that I conducted an inspection of the BMP described herein.  I further certify that at the time of my inspection said BMP was performing properly and was in compliance with the approved plans and the terms and conditions of the approved maintenance agreement required by the Post-Construction Storm Water Ordinance.

Certification:

_____________________________________	________________________

Inspector’s Signature				Date

_____________________________________	________________________

Professional Engineer’s Signature			Date

(Professional seal)

Note:  The Post-Construction Storm Water Ordinance requires that inspections be conducted of all BMPs beginning within one (1) year from the date of the approved as-built certification and each year thereafter and that these inspections be completed by a North Carolina Professional Engineer.  All inspections must be documented, signed, sealed, and submitted using this form.

The completed inspection form should be emailed to JRappe@Stallingsnc.org or a paper copy submitted to:

Storm Water Administrator

Town of Stallings

315 Stallings Road

Stallings, NC 28104